## Slide 1: Automation of robotic spine: tim
Laura fasanella
Benjamin francolini
Jody haig
Brittany stott

## Slide 2: outline
Ben Francolini
2. tracking system
Jody Haig
3. valves
Laura Fasanella
4. sensors
Brittany Stott
5. Challenges and conclusion
1. Background and objectives

## Slide 3: introduction
Etiology = often unknown
Multiple potential causes
Massive economic burden on health and welfare systems
  Leading cause for work absences
Chart: 
| Affected | Unaffected
Lower Back Pain | 4 | 1

## Slide 4: objective
Automate the control system of the pneumatic muscles and artificial vales
To be done using a control system complete with:
Tracking system
Valves
Pressure Sensors
Air compressor

## Slide 5: Design specifications
Pressure sensors should be of suitable size and suitable location
Measure pressure in pneumatic muscles and cavities
Observe spinal movement under a load
Automatically regulate pressure in muscles and cavities
Aesthetically pleasing
OMEGA pressure sensors
OMEGA pressure sensors
Polhemus FASTRAK
BURKERT microfluidic valves
Wire and electrical component organization

## Slide 6: POLHEMUS FASTRAK DIGITIZER SETUP

## Slide 7: POLHEMUS tracking system functionality
Fastrak Digitizer collects <x,y,z> coordinates instantaneously and continuously
PDImfc Interface displays stream of data
MATLAB function obtains data for a certain time limit specified by user
Issues present with calling the function of a single time
For-loop created in MATLAB
Code is altered depending on number of sensors used to indicate relative motion of micro-sensor in space

## Slide 8: Power supply, breadboard, and daq connection

## Slide 9: Intermediary tube functionality
Sensor OD currently does not have snug fit with pneumatic muscle ID
Intermediary tube is necessary to prevent air leakage
Ridges created on tube piece to wrap cable tie
Dimensions
  ID: 1/5” (accounts for smaller sensor head)
  ID: 1/4“ (accounts for larger sensor head)
  OD: 3/8”
  Length: 0.52”
  Distance between ridges: 1/10” (appropriate for thin
  cable-ties)
Currently being manufactured at CUBE (PLA material)

## Slide 10: Pressure sensors and daq
Power supply
Sensors
DAQ
LabVIEW
Purpose: Setup:
Sensors provide the final pressure in muscles
and cavities
Current progress:
Solder sensors
Connect power supply, breadboard, sensors, and DAQ
Future work:
Convert voltage reading to pressure reading
Display pressure in real-time

## Slide 11: SOLDERED SENSORS

## Slide 12: Power supply, breadboard, and daq connection

## Slide 13: LABVIEW READING CONTINUOUS SAMPLES FOR PRESSURE SENSORS AND MICROFLUIDIC VALVES

## Slide 14: VALVES and daq
Power supply + valves + relay switch
DAQ
LabVIEW/MATLAB
Purpose: Setup:
Valves will be the heart of the control system
  Receives input from tracking system
  Outputs pressure change in muscles and cavities
Current progress:
Wired all 4 valve manifolds
Connected valves to LabVIEW
Future work:
Create communication between LabVIEW and MATLAB
Implement control system

## Slide 15: Microfluidic valves
Assembled on manifold
Fully wired
Powered by AC/DC adapter
Controlled using DAQ relay switch

## Slide 16: conclusion
Remaining tasks:
  Interfacing software
  Control system
Takeaways
  Engineering in a biological environment
  Professionally contacting suppliers
  Organizational skills
  Budgeting and planning

## Slide 17: challenges
National Instruments DAQmx
+ LabVIEW
Polhemus PDImfc
→ MATLAB
Learning new software
Lessons learned:
Always plan for extra time for product delivery, unexpected events, or malfunctions
Lead times

## Slide 18: Thank you

## Slide 19: Customize this Template
Template Editing Instructions and Feedback

## Slide 20: Power supply, breadboard, and daq connection
Topic 01
Topic 02

## Slide 21: Tracking system
Lorem ipsum dolor sit amet, consectetuer adipiscing elit. Maecenas porttitor congue massa. Fusce posuere, magna sed pulvinar ultricies, purus lectus malesuada libero, sit amet commodo magna eros quis urna.
Nunc viverra imperdiet enim. Fusce est. Vivamus a tellus.
Pellentesque habitant morbi tristique senectus et netus et malesuada fames ac turpis egestas. Proin pharetra nonummy pede. Mauris et orci.

## Slide 22: Comparison 02
Lorem ipsum dolor sit amet, consectetuer adipiscing elit. Maecenas porttitor congue massa. Fusce posuere, magna sed pulvinar ultricies, purus lectus malesuada libero, sit amet commodo magna eros quis urna.
Nunc viverra imperdiet enim. Fusce est. Vivamus a tellus.
Pellentesque habitant morbi tristique senectus et netus et males
Pellentesque habitant morbi tristique senectus et netus et malesuada fames ac
Topic 01 comes here
Lorem ipsum dolor sit amet, consectetuer adipiscing elit. Maecenas porttitor congue massa. Fusce posuere, magna sed pulvinar ultricies, purus lectus malesuada libero, sit amet commodo magna eros quis urna.
Nunc viverra imperdiet enim. Fusce est. Vivamus a tellus.
Pellentesque habitant morbi tristique senectus et netus et males
Pellentesque habitant morbi tristique senectus et netus et malesuada fames ac
Topic 02 comes here

## Slide 23: Tracking system
Lorem ipsum dolor sit amet, consectetuer adipiscing elit. Maecenas porttitor congue massa. Fusce posuere, magna sed pulvinar ultricies, purus lectus malesuada libero, sit amet commodo magna eros quis urna.
Nunc viverra imperdiet enim. Fusce est. Vivamus a tellus.
Pellentesque habitant morbi tristique senectus et netus et malesuada fames ac turpis egestas. Proin pharetra nonummy pede. Mauris et orci.